## eMedDevice Mar 2015 Simple
Updated MedDevice DataSet Schema (XSD) (this will replace the current v3.3.4 eMedDevice DataSet)
NEMSIS v3 Medical Device Work Group Recommendations
| COLOR: |  | Green font indicates a change to an existing element | [5 empty] | 10-29-2014 v3 Implementation Call Review: Green Background means "Go" - agree with Work Group recommendation
|  |  | Blue font & Yellow highlight indicates a new element | [5 empty] | Work Group 11-03-2014 - Guidance or action in Column K in Maroon Bold.
Blue font & Grey highlight indicates a new grouping
Grey background represents Groupings
NEW eMedDevice DataSet | Group or # of elements | [7 empty] | EXPLANATION / Clarification regarding recommendations: Red font indicates an update from eDevice to eCardiacDevice | 11-03-2014: Work Group Comments regarding concerns and final recommendations.
| Main Group | 1:1 | eMedDevice | [5 empty] | Green font indicates an update from eMedDevice naming to the updated eMedDevce. Red font indicates an element should be removed.
Remove | Remove |  | eMedDevice.01-10 | [5 empty] | NOTE: The "D" elements have been removed from the MedDevice DataSet and element eRecord.01 Patient Care Report Number.
eMedDevice | 1st Gen_Grp |  | 0:1 | eMedDevice.PatientGroup |  |  |  |  | Replaces eMedDevice.PatientNameGroup (Renamed group & moved Age inside)
eMedDevice | element 1 |  |  | 0:1 | Last Name (ePatient.02)
eMedDevice | element 2 |  |  | 0:1 | First Name (ePatient.03)
eMedDevice | element 3 |  |  | 0:1 | Middle Initial/Name (ePatient.04)
eMedDevice | element 4 |  |  | 0:1 | Gender (ePatient.13)
eMedDevice | element 5 |  |  | 0:M | Race (ePatient.14)
eMedDevice | 2nd_Gen_Grp |  |  | 0:1 | eMedDevice.PatientAgeGroup |  |  |  | (moved into PatientGroup)
eMedDevice | element 6 |  |  |  | 1x1 | Age (ePatient.15)
eMedDevice | element 7 |  |  |  | 1x1 | Age Units (ePatient.16)
Remove | Remove |  | 0x0 | Date Of Birth |  |  |  |  | Remove DOB from the MedDevice DataSet
eMedDevice | 1st Gen_Grp |  | 0:M | eMedDevice.VitalsGroup
eMedDevice | element 8 |  |  | 1x1 | Date/Time Vital Signs Taken (eVitals.01)
Remove | Remove |  |  |  | 0:1 | eMedDevice.CardiacRhythmGroup |  |  | Remove this Group from the MedDevice DataSet | 11-03-2014: Remove the eMedDevice.CardiacRhythmGroup from the eMedDevice DataSet as this eVitals information does not come from the cardiac device.
Remove | Remove |  |  |  |  | 0:1 | Cardiac Rhythm / Electrocardiography (ECG) (eVitals.03) |  | Remove this Element from the MedDevice DataSet | 11-03-2014: Remove this element from the eMedDevice DataSet as this eVitals information does not come from the cardiac device.
Remove | Remove |  |  |  |  | 0:1 | ECG Type (eVitals.04) |  | Remove this Element from the MedDevice DataSet | 11-03-2014: Remove this element from the eMedDevice DataSet as this eVitals information does not come from the cardiac device.
Remove | Remove |  |  |  |  | 0:M | Method of ECG Interpretation (eVitals.05) |  | Remove this Element from the MedDevice DataSet | 11-03-2014: Remove this element from the eMedDevice DataSet as this eVitals information does not come from the cardiac device.
eMedDevice | 2nd_Gen_Grp |  |  |  | 0:1 | eMedDevice.BloodPressureGroup
eMedDevice | element 9 |  |  |  |  | 1:1 | SBP (Systolic Blood Pressure) (eVitals.06)
eMedDevice | element 10 |  |  |  |  | 0:1 | DBP (Diastolic Blood Pressure) (eVitals.07)
eMedDevice | element 11 |  |  |  |  | 0:1 | Method of Blood Pressure Measurement (eVitals.08)
eMedDevice | element 12 |  |  |  |  | 0:1 | Mean Arterial Pressure (eVitals.09)
eMedDevice | 2nd_Gen_Grp |  |  |  | 0:1 | eMedDevice.HeartRateGroup
eMedDevice | element 13 |  |  |  |  | 1:1 | Heart Rate (eVitals.10)
eMedDevice | element 14 |  |  |  |  | 0:1 | Method of Heart Rate Measurement (eVitals.11)
eMedDevice | element 15 |  |  |  | 0:1 | Pulse Oximetry (eVitals.12)
eMedDevice | element 16 |  |  |  | 0:1 | Respiratory Rate (eVitals.14)
eMedDevice | element 17 |  |  |  | 0:1 | Carbon Dioxide (CO2) (eVitals.16)
eMedDevice | element 18 |  |  |  | 0:1 | Carbon Monoxide (CO) (eVitals.17)
Remove | Remove |  |  |  | 0:1 | Blood Glucose Level (eVitals.18) |  |  | Remove this Element from the MedDevice DataSet
eMedDevice | 2nd_Gen_Grp |  |  |  | 0:1 | eMedDevice.BodyTemperatureGroup
eMedDevice | element 19 | [5 empty] | Temperature (eVitals.24)
eMedDevice | element 20 | [5 empty] | Temperature Method (eVitals.25)
Remove | Remove |  | 0x0 | eMedDevice.LabsGroup |  |  |  |  | Recommendation is to remove the LabsGroup from MedDevice DataSet at this time.
eMedDevice | 1st Gen_Grp |  | 0:1 | eMedDevice.CardiacDevice.Import.Group (each distinct import that happens in the PCR) |  |  |  |  | This grouping is for all the information from the Medical Device (Device Serial Number, Case ID, Device Manufacturer, eMedDevice.CardiacDevice.EventsGroup, etc.
eMedDevice | element 21 |  |  | 1:1 | Device Serial Number |  |  |  | Update the recurrence
eMedDevice | element 22 |  |  | 1:1 | CaseID |  |  |  | New
eMedDevice | element 23 |  |  | 1:1 | Type Of Shock
eMedDevice | element 24 |  |  | 1:1 | Device Manufacturer |  |  |  | New
eMedDevice | element 25 |  |  | 1:1 | Device Model Number |  |  |  | New
eMedDevice | 2nd_Gen_Grp |  |  | 0:M | eMedDevice.CardiacDevice.EventsGroup |  |  |  | Replaces eMedDevice.DeviceGroup
eMedDevice | element 26 |  |  |  | 1:1 | Event Date/Time
eMedDevice | element 27 |  |  |  | 0:M | Event Type
eMedDevice | element 28 |  |  |  | 0:M | Cardiac Device ECG Lead |  |  | Replaces eMedDevice.49 - (eDevice.07) Medical Device ECG Lead | 11-03-2014: Moved eCardiac Device ECG Lead up above the eCardiacDevice.WaveFormGroup but still within the eCardiacDevice.EventsGroup.
eMedDevice | 3rd_Gen_Grp |  |  |  | 0:M | eMedDevice.CardiacDevice.WaveFormGroup |  |  | Replaces eMedDevice.WaveGroup
eMedDevice | element 29 |  |  |  |  | 1:1 | Graphic Type (extension) |  | Replaces eMedDevice.46 - (eDevice.04) Medical Device Waveform Graphic Type
eMedDevice | element 30 |  |  |  |  | 1:1 | Graphic |  | Replaces eMedDevice.47 - (eDevice.05) Medical Device Waveform Graphic
eMedDevice | element 31 |  |  |  |  | 1:M | Image Contents (Manual, AED, Pacing, CO2, O2, Other, etc) |  | Replaces eMedDevice.48 - Medical Device Mode (Manual, AED, Pacing, CO2, O2, etc)
eMedDevice | 4th_Gen_Grp |  |  |  | 0:1 | eMedDevice.CardiacDevice.TwelveLeadDeviceGroup |  |  | New Grouping
eMedDevice | element 32 |  |  |  |  | 0:1 | 12-Lead Algorithm |  | New
eMedDevice | element 33 |  |  |  |  | 0:1 | 12-Lead Algorithm Version |  | New
eMedDevice | element 34 |  |  |  |  | 0:1 | ECG Interpretation (Device) |  | Details will be provided regarding these elements. ECG Interpretation (Device) is the interpretation of the cardiac rhythm as provided by the cardiac device. | 11-03-2014: There is no direct mapping to the values in eVitals.03 - Cardiac Rhythm / Electrocardiography (ECG) from a Cardiac Monitor Device with the Interpretation.
eMedDevice | element 35 |  |  |  |  | 0:1 | QRS Duration |  | New
eMedDevice | element 36 |  |  |  |  | 0:1 | P Duration |  | New
eMedDevice | element 37 |  |  |  |  | 0:1 | QT/QTc |  | New
eMedDevice | element 38 |  |  |  |  | 0:1 | PR Interval |  | New
eMedDevice | element 39 |  |  |  |  | 0:1 | P-R-T axes |  | New
eMedDevice | 5th_Gen_Grp |  |  |  |  | 0:M | eMedDevice.CardiacDevice.STElevationDepressionLeadGroup |  | New Grouping
eMedDevice | element 40 | [5 empty] | 1:1 | Lead | New
eMedDevice | element 41 | [5 empty] | 1:1 | Magnitude (+ or -) | New
eMedDevice | 3rd_Gen_Grp |  |  |  | 0:1 | eMedDevice.CardiacDevice.ShockGroup |  |  | Replaces eMedDevice.ShockGroup
eMedDevice | element 42 |  |  |  |  | 1:1 | Shock Energy Selected (Joules) |  | New
eMedDevice | element 43 |  |  |  |  | 1:1 | Shock energy delivered (Joules) |  | New
eMedDevice | element 44 |  |  |  |  | 0:1 | Current (Amps) |  | New
eMedDevice | element 45 |  |  |  |  | 0:1 | Impedance (ohms) |  | New
eMedDevice | element 46 |  |  |  |  | 0:1 | Synchronized |  | New
eMedDevice | element 47 |  |  |  |  | 1:1 | Shock Sequence Number |  | New
eMedDevice | 3rd_Gen_Grp |  |  |  | 0:1 | eMedDevice.CardiacDevice.PacingGroup |  |  | New Grouping
eMedDevice | element 48 |  |  |  |  | 1:1 | Pacing Rate Set |  | New
eMedDevice | element 49 |  |  |  |  | 1:1 | Pacing Current |  | New
eMedDevice | element 50 |  |  |  |  | 0:1 | Pacing Captured |  | New
eMedDevice | element 51 |  |  |  |  | 0:1 | Synchronized |  | New
eMedDevice | 2nd_Gen_Grp |  |  | 0:M | eMedDevice.CardiacDevice.CodeMarkerEventsGroup |  |  |  | New Grouping
eMedDevice | element 52 |  |  |  | 1:1 | Event Date/Time |  |  | New
eMedDevice | element 53 |  |  |  | 1:1 | Event Description |  |  | New
eMedDevice | 2nd_Gen_Grp |  |  | 0:1 | eMedDevice.CardiacDevice.CPRDeviceEventGroup |  |  |  | New Grouping
eMedDevice | element 54 |  |  |  | 1:1 | Average Compression Depth |  |  | New
eMedDevice | element 55 |  |  |  | 1:1 | Average Compression Rate |  |  | New
eMedDevice | element 56 |  |  |  | 0:1 | Average Release Velocity |  |  | New

## v3.3.4 eMedDevice DataSet
Current NEMSIS v3.3.4 eMedDevice DataSet