## eCardiacDevice Mar 2015 Simple
New EMS DataSet Section called eCardiacDevice (this would replace eDevice)
NEMSIS v3 Medical Device Work Group Recommendations
|  | COLOR: | green font indicates a change to an existing element
Blue font & Yellow highlight indicates a new element
|  |  | Blue font & Grey highlight indicates a new grouping | [6 empty] | 11-03-2014: Work Group Comments in Maroon Bold regarding concerns and final recommendations.
Grey background represents Groupings
DataSet | Group or # of elements | [7 empty] | EXPLANATION / Clarification regarding recommendations: Red font indicates an update from eDevice to eCardiacDevice | Additional Notes
EMS DataSet | Main Group | 0:1 | eCardiacDevice | [5 empty] | New Grouping
EMS DataSet | 1st Gen_Grp |  | 0:M | eCardiacDevice.Import.Group (each distinct import that happens in the PCR) |  |  |  |  | Replaces eDevice.DeviceGroup
EMS DataSet | element 1 |  |  | 1:1 | Device Serial Number |  |  |  | Updated recurrence | Use the existing definition and constraints - eDevice.01 - Medical Device Serial Number.
EMS DataSet | element 2 |  |  | 1:1 | CaseID |  |  |  | New | Allows matching of the CaseID from the cardiac device. Identifier the device provides.
EMS DataSet | element 3 |  |  | 1:1 | Type Of Shock |  |  |  | Updated recurrence & different location | Use the existing definition and constraints - eDevice.09 - Type of Shock.
EMS DataSet | element 4 |  |  | 1:1 | Device Manufacturer |  |  |  | New | Use the definition and constraints from dDevice.04 - Medical Device Manufacturer.
EMS DataSet | element 5 |  |  | 1:1 | Device Model Number |  |  |  | New | Use the definition and constraints from dDevice.05 - Medical Device Model Number.
EMS DataSet | 2nd_Gen_Grp |  |  | 0:M | eCardiacDevice.EventsGroup |  |  |  | New Grouping
EMS DataSet | element 6 |  |  |  | 1:1 | Event Date/Time |  |  | Updated recurrence & different location | Use the definition and constraints from eDevice.02 - Date/Time of Event (per Medical Device).
EMS DataSet | element 7 |  |  |  | 0:M | Event Type |  |  | Different location | Use the definition and constraints from eDevice.03 - Medical Device Event Type.
EMS DataSet | element 8 |  |  |  | 0:M | Cardiac Device ECG Lead |  |  | Replaces eDevice.07 | 11-03-2014: Moved eCardiac Device ECG Lead up above the eCardiacDevice.WaveFormGroup but still within the eCardiacDevice.EventsGroup.
EMS DataSet | 3rd_Gen_Grp |  |  |  | 0:M | eCardiacDevice.WaveFormGroup |  |  | Replaces eDevice.WaveFormGroup
EMS DataSet | element 9 |  |  |  |  | 1:1 | Graphic Type (extension) |  | Replaces eDevice.04 | Use the definition and constraints from eDevice.04 - Medical Device Waveform Graphic Type. Updates to the comment section are needed which may include the following references. A general list of image formats: http://en.wikipedia.org/wiki/Image_file_formats. ADD: A list of lossless graphics: http://en.wikipedia.org/wiki/Lossless_compression#Graphics
EMS DataSet | element 10 |  |  |  |  | 1:1 | Graphic |  | Replaces eDevice.05 | Use the definition and constraints from eDevice.05 - Medical Device Waveform Graphic.
EMS DataSet | element 11 |  |  |  |  | 1:M | Image Contents (Manual, AED, Pacing, CO2, O2, Other, etc) |  | Replaces eDevice.06 | Use the definition and constraints from eDevice.06 - Medical Device Mode (Manual, AED, Pacing, CO2, O2, etc).
EMS DataSet | 4th_Gen_Grp |  |  |  | 0:1 | eCardiacDevice.TwelveLeadDeviceGroup |  |  | New Grouping | 11-03-2014: Moved eCardiacDevice.TwelveLeadDeviceGroup and corresponding elements out one level, under eCardiacDevice.EventsGroup.
EMS DataSet | element 12 |  |  |  |  | 0:1 | 12-Lead Algorithm |  | New
EMS DataSet | element 13 |  |  |  |  | 0:1 | 12-Lead Algorithm Version |  | New
EMS DataSet | element 14 |  |  |  |  | 0:1 | ECG Interpretation (Device) |  | Updated recurrence & different location
EMS DataSet | element 15 |  |  |  |  | 0:1 | QRS Duration |  | New
EMS DataSet | element 16 |  |  |  |  | 0:1 | P Duration |  | New
EMS DataSet | element 17 |  |  |  |  | 0:1 | QT/QTc |  | New
EMS DataSet | element 18 |  |  |  |  | 0:1 | PR Interval |  | New
EMS DataSet | element 19 |  |  |  |  | 0:1 | P-R-T axes |  | New
EMS DataSet | 5th_Gen_Grp |  |  |  |  | 0:M | eCardiacDevice.STElevationDepressionLeadGroup |  | New Grouping
EMS DataSet | element 20 | [5 empty] | 1:1 | Lead | New
EMS DataSet | element 21 | [5 empty] | 1:1 | Magnitude (+ or -) | New
EMS DataSet | 3rd_Gen_Grp |  |  |  | 0:1 | eCardiacDevice.ShockGroup |  |  | Replaces eDevice.ShockGroup
EMS DataSet | element 22 |  |  |  |  | 1:1 | Shock Energy Selected (Joules) |  | New
EMS DataSet | element 23 |  |  |  |  | 1:1 | Shock energy delivered (Joules) |  | New
EMS DataSet | element 24 |  |  |  |  | 0:1 | Current (Amps) |  | New
EMS DataSet | element 25 |  |  |  |  | 0:1 | Impedance (ohms) |  | New
EMS DataSet | element 26 |  |  |  |  | 0:1 | Synchronized |  | New
EMS DataSet | element 27 |  |  |  |  | 1:1 | Shock Sequence Number |  | New
EMS DataSet | 3rd_Gen_Grp |  |  |  | 0:1 | eCardiacDevice.PacingGroup |  |  | New Grouping
EMS DataSet | element 28 |  |  |  |  | 1:1 | Pacing Rate Set |  | New
EMS DataSet | element 29 |  |  |  |  | 1:1 | Pacing Current |  | New
EMS DataSet | element 30 |  |  |  |  | 0:1 | Pacing Captured |  | New
EMS DataSet | element 31 |  |  |  |  | 0:1 | Synchronized |  | New
EMS DataSet | 2nd_Gen_Grp |  |  | 0:M | eCardiacDevice.CodeMarkerEventsGroup |  |  |  | New Grouping
EMS DataSet | element 32 |  |  |  | 1:1 | Event Date/Time |  |  | New
EMS DataSet | element 33 |  |  |  | 1:1 | Event Description |  |  | New
EMS DataSet | 2nd_Gen_Grp |  |  | 0:1 | eCardiacDevice.CPRDeviceEventGroup |  |  |  | New Grouping
EMS DataSet | element 34 |  |  |  | 1:1 | Average Compression Depth |  |  | New
EMS DataSet | element 35 |  |  |  | 1:1 | Average Compression Rate |  |  | New
EMS DataSet | element 36 |  |  |  | 0:1 | Average Release Velocity |  |  | New

## v3.3.4 eDevice Section
Current NEMSIS v3.3.4 eDevice Section (March 2014 release)